Product Specifications

Riser Guide, Silent Style.

- General

  - Provide Silent Style Riser Pipe Guides as indicated on project plans or in accordance with engineering calculations.

  - For riser applications consult Metraflex for guide spacing.  EJMA standards may not be applicable to risers.

- Products

  - Pipe guides shall be style “PGQ Riser Guide” as manufactured by The Metraflex Company®, Chicago, IL.

  - Guide shall be made up of a housing with base plate, T slide and urethane load bearing isolator.

  - Guide shall be manufactured from ASTM A-134 carbon steel.

  - Piping shall be connected to slide assembly with clamps.  Copper pipe shall utilize dielectric inserts.

- Execution

  - Install and guide per manufacturer’s installation instructions and Mechanical Contractors Association of America “Guidelines for Quality Piping Installations”.